Model Language and Guidance for Implementation

MODEL DRINKING WATER ORDINANCE FOR PROTECTION OF SURFACE WATER SUPPLY AREAS AND SOURCES

I. AUTHORITY

The Town or City of Name hereby adopts this Ordinance pursuant to the authority granted under RSA 674:16, II and RSA 674:21, relative to innovative land use controls amd RSA 147:1, relative to local health regulation.

II. PURPOSE

The purpose of this ordinance is, in the interest of public health, safety, and general welfare, to preserve, maintain, and protect from contamination existing and potential drinking water supply areas and sources, and surface water bodies that are hydrologically connected to them. The purpose is to be accomplished by regulating land uses, which have potential to contribute pollutants to designated surface water supply areas and sources identified as being needed for present and/or future public water supply, and to maintain the Water Quality Goals as identified in Env-Ws 310.

III. APPLICABILITY

This Ordinance applies to all uses in the Drinking Water Protection District, except for those uses exempt under Article XI Exemptions of this Ordinance.

IV. DEFINITIONS

Best Management Practices (BMPs): A practice or combination of practices determined to be the most practicable means of preventing or reducing, to a level compatible with water quality goals, the amount of pollution generated by nonpoint sources. BMPs are selected on the basis of site-specific conditions that reflect natural background conditions and political, social, economic, and technical feasibility.

Disturbance: Any alteration to or reconfiguration of the land surface such as, but not limited to, excavating, clearing, grading, cut and fill.

Drinking Water Supply: Water extracted from a stream, river, lake, pond, or reservoir used as a public drinking water supply, as defined under RSA 485:1-a.

Grandfathered Parcel or Lot: A parcel or lot of record shown on a plan recorded at the ____Register of Deeds at the time of adoption of this Ordinance.

Hazardous Waste: (As defined under RSA 147-A) A solid, semi-solid, liquid or contained gaseous waste, or any combination of these wastes:

1.	Which, because of either quantity, concentration, or physical, chemical, or infectious characteristics may:

a.	Cause or contribute to an increase in mortality or an increase in irreversible or incapacitating reversible illness; or

b.	Pose a present or potential threat to human health or the environment when improperly treated, stored, transported, disposed of or otherwise mismanaged.

2.	Or which has been identified as a hazardous waste by the department using the criteria established under RSA 147-A:3, I or as listed under RSA 147-A:3, II. Such wastes include, but are not limited to, those which are reactive, toxic, corrosive, ignitable, irritants, strong sensitizers or which generate pressure through decomposition, heat or other means. Such wastes do not include radioactive substances that are regulated by the Atomic Energy Act of 1954, as amended.

Impervious Surface: A hard surface area that either prevents or retards the entry of water into the soil profile as under natural conditions prior to development and/or a hard surface area that causes water to run off the surface in greater quantities or at an increased rate of flow from the flow present under natural conditions prior to development.

Personal Watercraft: A gasoline powered sailboat, powerboat, jet-ski, barge, raft, inflatable craft, or other floatable device.

Primary Buffer Protection Zone: The area within 300 feet of the seasonal high water mark of a waterbody actively used as a surface water supply and the area within 100 feet of the reference line of all contributing perennial surface waterbodies (see Figure 2.5.1).

FIGURE 2.5.1 Drinking Water Supply Primary and Secondary Protection Zones

Qualified Professional: A person knowledgeable in the principles and practices of erosion and sediment control, and stormwater management, such as but not limited to a licensed professional engineer, soil scientist, Certified Professional in Erosion and Sediment Control (CPESC), Certified Professional in Storm Water Quality (CPSWQ), or another professional with experience in the principles and practices of erosion and sedimentation control and stormwater management working under the direction and supervision of a qualified professional.

Regulated Substance: (defined in New Hampshire Administrative Rule Env-Wq 401) Any of the following, with the exclusion of ammonia, sodium hypochlorite, sodium hydroxide, acetic acid, sulfuric acid, potassium hydroxide, and potassium permanganate:

1.	Oil as defined in RSA 146-A:2, III.

2.	Any substance that contains a regulated contaminant for which an ambient groundwater quality standard has been established pursuant to RSA 485-C:6.

3.	Any substance listed in 40 CFR 302, 7-1-05 edition.

Reference Line: (defined in RSA 483-B:4, XVII):

1.	For natural fresh water bodies without artificial impoundments, the natural mean high water level as determined by the Department of Environmental Services.

2.	For artificially impounded fresh water bodies with established flowage rights, the limit of the flowage rights, and for water bodies without established flowage rights, the waterline at full pond as determined by the elevation of the spillway crest.

3.	For coastal waters, the highest observable tide line, which means a line defining the furthest landward limit of tidal flow, not including storm events, which can be recognized by indicators such as the presence of a strand line of flotsam and debris, the landward margin of salt tolerant vegetation, or a physical barrier that blocks further flow of the tide.

4. For rivers, the ordinary high water mark.

Secondary Buffer Protection Zone: The area between 300-400 feet of the seasonal high water mark of a water body actively used as a surface water supply, and the area within 100-200 feet of the reference line of all contributing perennial surface waterbodies.

Surface Water Supply: Water that is extracted and treated from sources open to the atmosphere, such as rivers, lakes, and reservoirs.

Water Body: Any flowing water confined in a channel or concentrated overland flow and any standing body of water in a topographic depression that persists annually and for at least several months during the year.

Wetland: An area that is inundated or saturated by surface water or groundwater at a frequency and duration sufficient to support, and that under normal conditions does support, a prevalence of vegetation typically adapted for life in saturated soil conditions (RSA 482-A:2).

V. DRINKING WATER PROTECTION DISTRICT

A. 	The provisions of this Ordinance shall apply to land uses and activities and expansion or alteration of existing nonconforming uses and activities identified as possible sources of contamination within areas designated as the Drinking Water Protection District (District). The regulation of land use and activities within the District is essential to protect existing or potential surface water supply areas and sources from the effects of point source and non-point source pollution and sedimentation.

B.	Drinking Water Protection District Boundary. Within Town/City [Name], the Drinking Water Protection District is an overlay district, which is superimposed over the underlying zoning district and includes within its boundaries. The District is shown on the map entitled, Town/City of [Name] Drinking Water Protection District, dated [date adopted] and includes the following:

1.	The contributing perennial surface waters to the drinking water supply source.

2.	The Primary and Secondary Buffer Protection Zones as defined under Article IV Definitions of this Ordinance.

3.	The surface water body [insert name of stream, river, lake, pond, or 
reservoir] used as a public drinking water supply source, as defined under RSA 485:1-a.

C.	All surface water bodies within the District shall be accurately delineated on each parcel or lot using the best available data or site evaluation methods for all activities regulated under this Ordinance.

VI. PRIMARY AND SECONDARY BUFFER PROTECTION ZONE REQUIREMENTS

The Primary and Secondary Buffer Protection Zones are established to protect the water quality of the drinking water supply source and all of its perennial tributaries, while permitting limited uses within the designated Primary and Secondary Buffer Protection Zones. The Primary and Secondary Buffer Protection Zones are intended to protect water quality by maintaining an undisturbed vegetated area and otherwise limiting land use in the area surrounding surface waters used for drinking water supply and perennial surface waters that contribute to the drinking water supply. All permitted uses and activities within the Primary and Secondary Buffer Protection Zones must comply with Article VIII Performance Standards unless specifically exempt under Article XI.

A.	The following uses and activities are prohibited on surface waters or on the ice of water used for drinking water supply that are protected under this Ordinance:

1.	Gasoline powered boats, snowmobiles, ATVs or any other gasoline powered personal watercraft.

2.	Fishing, ice fishing, wading, swimming, bathing, water skiing or any similar water contact activity.

3.	Placement of any hazardous waste or regulated substances of any sort left in water or otherwise able to enter the water supply.

4.	Placement of waste, trash or refuse of any sort left in water or otherwise able to enter the water supply.

B.	The following uses and activities are permitted within the Primary Buffer Protection Zone of the Drinking Water Protection District. All Permitted Uses and Activities must comply with Article VIII Performance Standards unless specifically exempt under Article XI. All other uses and activities are prohibited in the Primary Buffer Protection Zone.

1.	Uses and activities that provide for conservation of soil, water, plants, and wildlife.

2.	Outdoor recreation, nature study, non-motorized boating, shoreline fishing, and hunting where otherwise legally permitted.

3.	Foot and/or bicycle paths, and bridges designed for such uses; horse paths providing these are no closer than 50 feet to surface waters.

4.	Normal operation and maintenance of existing water bodies and dams, and other water control, supply and conservation devices.

5.	Maintenance and repair of any existing structures.

6.	Agriculture, forestry, and grazing, provided that a 50-foot non-disturbance zone is maintained along all waterbodies, and is conducted in compliance with best management practices in Manual for Best Management Practices (BMPs) for Agriculture in New Hampshire (reprinted April 2002).

7.	Construction, maintenance, repair and enlargement of drinking water supply related facilities such as, but not limited to, wells, pipelines, aqueducts and tunnels.

C.	The following uses and activities are prohibited within the Secondary Buffer Protection Zone of the Drinking Water Protection District:

1.	Activities or uses that cannot prevent, through the design or use of best management practices, the untreated release of any regulated substance.

2.	Storage, use, treatment or disposal of hazardous waste as defined under RSA 147-A.

3.	Storage, use, treatment or disposal of a solid waste or sludge facility.

4.	Outdoor storage of road salt or other deicing chemicals in bulk.

5.	Salvage or reclamation yards, including but not limited to automobiles, appliances, home electronics and construction waste.

6.	Snow dumps or long-term storage or stockpiling of snow.

7.	Wastewater or septage lagoons.

8.	Animal feedlots and manure storage, unless in compliance with Agricultural Best Management Practices Manual as referenced above in B.6.

9.	Petroleum, fuel oil and heating oil bulk plant, stations or terminals.

10. Gasoline stations.

11. Sewage disposal systems and treatment systems.

12. Housing, grazing, or other maintenance of livestock.

13. Commercial (non-agricultural) application of pesticides, herbicides, and fertilizers.

D.	Enlargement or intensification of an existing non-conforming use shall not be permitted in the Primary Buffer Protection Zone. Existing uses, which are nonconforming under this ordinance, may continue until the use ceases to exist or the use is discontinued for a period of two years. Existing nonconforming uses shall operate in conformance with Article VIII Performance Standards. Within the Drinking Water Protection District, an existing nonconforming use shall not be changed to another nonconforming use.

E.	All lands within the Primary Buffer Protection Zone that are part of a subdivision or development project or activity requiring approval under this ordinance shall be identified on an approved subdivision plat or site plan and shall be preserved in a natural state (undisturbed and undeveloped) through a declaration of protective covenant as a “Water Supply Protection Zone.” Such covenant shall be submitted to the Planning Board for review and approval, shall be recorded with the approved subdivision plat or site plan at the Country Registry of Deeds, and shall run with the land and continue in perpetuity.

VII. CONDITIONAL USE PERMIT

A.	Grant of a Conditional Use Permit

A Conditional Use Permit from the planning board shall be required for certain permitted uses and activities within the Primary and Secondary Buffer Protection Zones.

1.	The following uses occurring wholly or partially within the Drinking Water Protection District shall, where permitted under Section VI, require the grant of a Conditional Use Permit by the planning board:

a.	Land disturbances greater than 10,000 square feet of land.

b.	Enlargement, alteration or intensification of an existing non-conforming use or structure.

c.	Storage, handling, and use of regulated substances in quantities greater than household quantities (greater than five gallons).

2.	In granting a Conditional Use Permit, the planning board must determine that the applicant has met all requirements of Article VIII Performance Standards, as well as all applicable local, state and federal permitting requirements.

3.	In granting a Conditional Use Permit, the planning board may impose conditions to the extent the Board concludes such conditions are necessary to minimize any adverse effect of the proposed use or activity upon surface waters, consistent with the intent of this ordinance, and to ensure compliance with state and federal drinking water quality standards.

4.	In granting a Conditional Use Permit, the planning board may reduce the required buffer zone to reflect site-specific features such as topography, highly permeable soils or areas that provide significant water quality protection for the drinking water supply source and its tributaries.

5.	Primary Buffer Protection Zone Reduction: A reduction in the required Primary Buffer Protection Zone width down to an absolute minimum of 75 feet may be granted by the planning board upon presentation of technical and water quality information that provides sufficient justification that even with the reduction, the protection afforded would be the same as that provided by the full-width buffer.

6.	Performance Guarantee: The planning board may, at its discretion, require a performance guarantee or bond, in an amount and with surety conditions satisfactory to the board, to be posted to ensure completion of construction of any facilities required for compliance with the Performance Standards.

7.	Conditional Use Standards. A Conditional Use Permit application shall be evaluated by the planning board and/or their consultant, in terms of meeting the following standards to ensure that:

a.	The use or activity, at any point in the development process, shall not result in degradation of the drinking water supply.

b.	The use or activity will not result in a violation of state drinking water quality standards as defined under Env-Ws 310.

c.	Non-point source pollution is minimized through implementation of Low Impact Development (LID) techniques.

d.	Best available technology and stormwater treatment systems address expected non-point source pollutants.

e.	Structural or operational best management practices are designed to remove or neutralize pollutants that present a potential impact to surface waters within the Drinking Water Protection District.

f.	Grading and removal of vegetation is minimized, and erosion and sediment control measures (temporary during development and permanent post-development) are properly designed and appropriately placed to minimize erosion and maximize sediment control.

g.	Subsurface disposal systems (tanks, leachfields) are in compliance with state rules and will only receive residential domestic wastewater. (Note: The planning board may require inspection of existing subsurface disposal systems to ensure proper function in compliance with state rules.

h.	All businesses using regulated substances are in compliance with Env-Wq 401 and will not expose regulated substances to precipitation.

B.	Application and Review Requirements for Issuance of a Conditional Use Permit

1.	Applicability. A Conditional Use Permit application shall be submitted to the planning board for review for uses and activities described in Article VI. Such application shall include a copy of any application for a building permit, a site plan review, or a subdivision of land, occurring wholly or partially in the Drinking Water Protection District.

2.	Application Requirements. A Conditional Use Permit application shall be accompanied by the following information.

a.	A site plan and description of the size and density of the proposed project, use or activity including the location and extent of impervious surfaces and all land disturbance; existing site conditions including topographic, hydrologic, historic, and vegetative features; and all plans shall identify and label the Primary and Secondary Buffer Protection Zones.

3.	Additional Information. For uses or activities that disturb greater than 20,000 square feet or pose a high risk to water quality within the district, the planning board may request the following additional information:

a.	Characteristics of natural and/or man-made drainage on the site and projected runoff from the proposed project area or activity, including rate and chemical characteristics of runoff deemed necessary to make an adequate assessment of both pre-development and post-development water quality.

b.	Measures proposed to be employed to reduce the rate of runoff and pollutant loading of runoff from the project area, both during and after construction.

c.	Proposed runoff control and surface water protection measures for the project area or activity. These measures shall be designed with the goal of ensuring the rate and volume of surface water runoff from the site does not exceed pre-development conditions.

d.	Where existing or planned off-site stormwater quality management facilities are proposed to be utilized, the applicant shall provide a written certification that the owner of the off-site facilities will accept runoff and be responsible for its adequate treatment to a level acceptable to the planning board and/or their consultant.

4.	Bonds. For projects requiring a Stormwater Management Plan and Erosion and Sedimentation Control Plan, the planning board may request a bond as a condition of approval in an amount determined by the Planning Board, which may be held for up to 12 months after final certificate of occupancy is issued. Such bond will ensure:

a.	Proposed stormwater management controls are installed as approved.

b.	Stormwater management controls function properly.

c.	Performance of routine inspections during and after construction and any necessary maintenance of structures and facilities included in the approved site plans or subdivision plans.

VIII. PERFORMANCE STANDARDS

The following performance standards apply to all uses and activities permitted or allowed through a Conditional Use Permit in the Drinking Water Protection District unless exempt under Article XI.

1.	Stormwater Management. For all activities and uses regulated under this Ordinance, a stormwater management plan shall be submitted to the planning board and/or their consultant for determination of consistency with the intent and purpose of this Ordinance and with Best Management Practices for Urban Stormwater Runoff, NH Department of Environmental Services (January 1996 as updated and amended).

2.	Stormwater Discharge. Stormwater generated within the Drinking Water Protection District or entering the district shall be treated based upon expected non-point source pollutants prior to discharge, and shall be infiltrated to the maximum extent possible.

3.	Erosion and Sedimentation Control. For all activities and uses regulated under this ordinance, an Erosion and Sedimentation Control Plan shall be submitted to the planning board and/or their consultant for determination of consistency with the intent and purpose of this Ordinance.

4.	Regulated Substances. For all uses or activities involving the storage, handling, and use of regulated substances the property owner shall develop a stormwater management and pollution control plan. Such plan shall include information consistent with “Stormwater Management For Industrial Activities: Developing Pollution Prevention Plans and Best Management Practices” (US EPA, 1992). The plan shall demonstrate that:

a.	The use or activity will minimize, through source controls and other pollution prevention measures, the release of regulated substances into stormwater.

b.	Recharge to groundwater will not result in violation of Ambient Groundwater Quality Standards (Env-Ws 410.05) on the property.

c.	The use or activity will not infiltrate stormwater passing through areas containing contaminated soils without completing a Phase I Assessment in conformance with ASTM E 527-05 (All Appropriate Inquiry or AAI).

d.	The use or activity will comply with Env-Wq 401.

5.	Roads, Bridges, Driveways, Paths and Utilities. Documentation that the following standards are met shall be provided for review for all projects including roads, bridges, driveways, paths and utilities within the Secondary Buffer Protection Zone.

a.	A feasibility analysis shall be conducted to ensure no alternatives are practicable to locate roads, bridges, driveways, paths and utilities outside the Drinking Water Protection District.

b.	All utility rights-of-way shall be the minimum width necessary to allow for maintenance access and installation.

c.	The angle of a road crossing shall be perpendicular to the tributary, wetland or other surface waters, or otherwise configured to minimize disturbance to the land surface and steep slopes, and to reduce clearing.

d.	The minimum number of crossings shall be used within each project and will result in the least overall impact to water quality (i.e. shared driveways).

e.	All roads, bridges, driveways and paths shall be configured and composed of materials to minimize impervious surface coverage to the maximum extent possible.

6.	Structures, Buildings, and Residential Dwellings and Accessory Structures. Documentation that the following standards are met shall be provided for review for all projects including structures, buildings, and residential dwellings and accessory structures within the Secondary Buffer Protection Zone.

a.	An evaluation to demonstrate that no feasible alternatives are practicable to locate structures, buildings and dwellings outside the Secondary Buffer Protection Zone.

b.	All structures, buildings and dwellings shall be located and otherwise configured to minimize disturbance to the land surface and steep slopes, to reduce clearing, and to minimize impervious surfaces.

7.	Impervious Surface. Impervious surface coverage shall not exceed 10 percent of the total land area of a parcel or lot wholly within or partially within the Drinking Water Protection District. For developed parcels and lots within the Drinking Water Protection District, existing impervious surface coverage in excess of 10 percent shall not be increased.

IX. SPILL PREVENTION, CONTROL AND COUNTERMEASURE (SPCC) PLAN

A.	Any use or activity having regulated substances in amounts greater than five gallons, shall submit to the local official such as Fire Chief, Emergency Response Official a SPCC plan for review and approval. It will include the following elements:

1.	Disclosure statements describing the types, quantities, and storage locations of all regulated substances that will be part of the proposed use or activity.

2. 	Owner and spill response manager’s contact information.

3. Location of all surface waters and drainage patterns.

4.	A narrative describing the spill prevention practices to be employed when normally using regulated substances.

5. Containment controls, both structural and non-structural.

6.	Spill reporting procedures, including a list of municipal personnel or agencies that will be contacted to assist in containing the spill, and the amount of a spill requiring outside assistance and response.

7. 	Name of a contractor available to assist in spill response, contaminant, and cleanup.

8.	The list of available clean-up equipment with instructions available for use on-site and the names of employees with adequate training to implement containment and clean up response.

X. EXISTING NON-CONFORMING USES

Existing nonconforming uses may continue without expanding or changing to another nonconforming use, but must be in compliance with all applicable state and federal requirements, including Env-Wq 401, Best Management Practices for Groundwater Protection Rules.

XI. EXEMPTIONS

The following uses are exempt from this ordinance as long as they are in compliance with all applicable local, state and federal requirements:

1.	Storage of heating fuels for on-site use or fuels for emergency electric generation, provided that storage tanks are indoors on a concrete floor or have corrosion control, leak detection, and secondary containment in place.

2.	Storage of motor fuel in tanks attached to vehicles and fitted with permanent fuel lines to enable the fuel to be used by that vehicle.

3.	Storage and use of office supplies.

XII. RELATIONSHIP BETWEEN STATE AND LOCAL REGULATIONS

Where both the state and the municipality have existing requirements the more stringent shall apply.

XIII. MAINTENANCE AND INSPECTION

Pursuant to the requirements of Article VIII Performance Standards, Inspections shall be performed by the planning board’s designee, to ensure compliance with the requirements of this ordinance and any conditions of a Conditional Use Permit. Any necessary maintenance of structures or facilities in the approved Plans shall be paid for with the performance bond.

XIV. ENFORCEMENT PROCEDURES AND PENALTIES

Any violation of the requirements of this ordinance shall be subject to the enforcement procedures and penalties detailed in RSA 676. When the responsible party fails to implement the requirements of this ordinance or any conditions of a Conditional Use Permit, as determined by the Code Enforcement Officer or Board of Selectmen, the [name of the municipality] is authorized to assume responsibility for their implementation and to secure reimbursement for associated expenses from the responsible party, including, if necessary, placing a lien on the subject property.

XV. SAVING CLAUSE

If any provision of this ordinance is found to be unenforceable, such provision shall be considered separable and shall not be construed to invalidate the remainder of the ordinance.

XVI. EFFECTIVE DATE

This ordinance shall be effective upon adoption by the municipal governing body. [Insert statement of date of adoption and by whom.]

# Text boxes

The Model Groundwater Protection Ordinance is available online at www.des.nh.gov/dwspp.

The ordinance’s restrictions on activities on surface waters are adopted pursuant to the local authority to adopt health regulations. In order for these restrictions to take effect, the ordinance must be approved by the selectmen, etc. as prescribed in RSA 147:1,I., in addition to being adopted by the local legislative body as with other land use ordinances.

Expansions or redevelopment of areas with preexisting soil contamination problems (referred to as “brownfields”) should be evaluated to determine whether changes to the surface or underlying soils will release existing contamination to groundwater or surface water. Environmental assessment standards and guidance for evaluating brownfield conditions can be obtained from the American Society of Testing and Materials (ASTM) or the US EPA. See EPA’s Brownfields website at www.epa.gov/swerosps/bf/regneg.htm.

The scientific literature suggests that common non-point source pollutants (i.e. nutrients, metals, pathogens) require a natural vegetated buffer of between 100-300 ft to attenuate those pollutants associated with land use development. Application of buffers to first and second order streams, as well as larger tributaries, has been shown to be essential to overall watershed water quality; thus buffer protection is extended to all perennial tributaries. Given varying natural buffer conditions, such as slope, soil type or land cover as well as the nature of the proposed land use, the buffer distances necessary to protect drinking water supplies may vary. Three hundred feet is suggested as a buffer distance along the shoreline of a surface water drinking water supply as that distance would attenuate most common non-point source pollutants. A secondary buffer extending from 300 to 400 from the water supply’s shoreline limits certain higher risk land uses.

Communities may consider adopting a Stormwater Management Ordinance requiring treatment and management of stormwater for development throughout the community. Alternatively, as a condition of approval for development projects in the Drinking Water Protection District requiring a Conditional Use permit, these projects may be required to meet specific performance criteria for protection of surface waters.

Refer to the Stormwater Management chapter for a model ordinance with performance standards and criteria for: impervious surfaces, best management practices, implementation of low impact development techniques, preserving natural hydrologic functions and drainage patters, and post-development peak flow rates and total runoff volumes, water quality treatment criteria and measurement, groundwater recharge. These performance standards and criteria can also be adopted as part of the subdivision and site plan regulations.

Communities may consider adopting an Erosion and Sedimentation Control Ordinance requiring implementation of best management practices during construction and for a period following construction for all development projects in the community. Alternatively, as a condition of approval for development projects in the Drinking Water Protection District requiring a Conditional Use permit, these projects may be required to meet specific performance criteria for protection of surface waters.

Refer to the chapter in this volume, Erosion and Sedimentation Control During Construction, which includes a model ordinance with performance standards and criteria for the protection of water quality. These performance standards and criteria can also be adopted as part of the subdivision and site plan regulations.

Source control BMPs are structures or operations that are intended to prevent pollutants from coming into contact with stormwater through physical separation of areas or careful management of activities that are sources of pollutants. See www.ecy.wa.gov/pubs/0510032.pdf.

Communities may consider restricting impervious surface limits to less than 10 percent to achieve the higher standards for water quality required for drinking water supplies as compared with other uses such as the standards for “fishable and swimmable waters.” It is simply cost effective to maintain the highest water quality standards by limiting land use than paying for additional costly treatment of the drinking water supply.

Watershed research has established that water quality and habitat degradation accelerate rapidly in watersheds when impervious surface areas are greater than 10 percent of the total area, and that stream degradation increases proportionately with increases in imperviousness (see Schueler 1994 and Deacon 2005).